## Asset Management Team
Fiscal Sustainability Plan Workbook Tool
Fiscal Sustainability Plan Team
Utility Information
Utility Name: | Manila Community Services District
Street Address: | 1901 Park St
City: | Manila. CA
Zip Code: | 95521
Phone Number: | 707-444-3803
Email:
NPDES (WDR) Number: | Order No. 95-2, ID No. 1B80162OHUM
Number of Connections: | 335
Number of Customers: | 784
Personnel
Contact Person: | Christopher Drop
Title: | General Manager
Role:
Email: | manilacsd1@sbcglobal.net
Team Member: | Kenneth Kittleson
Title: | Chief Plant Operator
Role:
Email: | manilacsd1@sbcglobal.net

## Table 1 Asset Inventory
Asset Inventory | Table 1
Facility Name: | Manila Wastewater Treatment Facility
Current Plan Year: | 2022
Directions:
A. List assets
B. Enter asset information
C. To add more assets use insert function and add rows then copy first asset row to new rows to transfer formulas | [7 empty] | varies
D. Enter information in yellow cells
E. Remaining cells will calculate automatically.
A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Collection Assets | Capacity / Size | Material | Manufacturer | Tag Number (Optional) | Original Cost | Current SRF Project Cost | Replacement Cost | Year Installed | Expected Useful Life in Years | Remaining Useful Life in Years | Condition | Probability of Failure | Consequence of Failure | Criticality
Septic Tank Control Panels (272) | 1 unit per tank | Plastic/Electronics | Orenco |  |  | 0 | 500 | 1978 | 60 | 16 | 2 | 3 | 2 | 6
Septic Tank Risers (272) |  | PVC | Orenco |  |  | 90000 | 150 | 1978 | 50 | 6 | 4 | 2 | 2 | 4
Septic Tank (272) | 750-1800 gals. | Fiberglass/Cement | varies |  |  | 0 | 1500 | 1978 | 50 | 6 | 3 | 2 | 4 | 8
Submersible Effluent Pump (272) | .5-1 HP | Varies | Myers, Goulds |  |  | 125000 | 950 | 1978 | 25 | -19 | 3 | 3 | 3 | 9
Gate Valves (51) | 2', 3', 4', 6' | PVC | varies |  |  | 0 | 25 | 1978 | 25 | -19 | 3 | 2 | 3 | 6
Ball Valves (372) | 1.25', 150', 2.00' | PVC | varies |  |  | 0 | 25 | 1978 | 25 | -19 | 3 | 2 | 3 | 6
Check Valves (286) | 1.25", 1.50", 2.00" | PVC | varies |  |  | 0 | 25 | 1978 | 5 | -39 | 3 | 2 | 3 | 6
Air Relief Valve Assembly (23) | 2" | PVC | Orenco, varies |  |  | 69000 | 400 | 1978 | 10 | -34 | 5 | 5 | 3 | 15
Pipe laterals and mains | 23 miles | PVC | varies |  |  | 0 | 598920 | 1978 | 75 | 31 | 2 | 3 | 3 | 9
Vacuum Pumper Truck | 2,000 gal. |  | Chevrolet |  |  | 0 | 100000 | 1978 | 10 | -34 | 4 | 4 | 2 | 8
Collection Assets Subtotal |  |  |  |  | 0 | 284000 | 702495
A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Treatment Assets | Capacity / Size | Material | Manufacturer | Tag Number (Optional) | Original Cost | Current SRF Project Cost | Replacement Cost | Year Installed | Expected Useful Life in Years | Remaining Useful Life in Years | Condition | Probability of Failure | Consequence of Failure | Criticality
Grit Removal Manhole | 4 ft dia., 6 ft deep | Fiberglass | varies |  |  | 0 | 5000 | 1995 | 25 | -2 | 2 | 2 | 2 | 4
Channel Grinder Manhole | 4 ft dia., 5.5 ft deep | Fiberglass | varies |  |  | 0 | 5000 | 1995 | 25 | -2 | 2 | 2 | 2 | 4
Channel Grinder |  | Cast Iron | varies |  |  | 0 | 1000 | 1995 | 10 | -17 | 5 | 5 | 1 | 5
Influent Metering Manhole | 4 ft dia., 5.5 ft deep | Fiberglass | varies |  |  | 0 | 5000 | 1995 | 25 | -2 | 2 | 2 | 2 | 4
Wet Well | 6 ft dia., 12.75 ft deep | Fiberglass | varies |  |  | 110000 | 110000 | 1995 | 25 | -2 | 4 | 2 | 4 | 8
Pump Station Vault Piping, Valves, Fittings, and Appurtenances |  |  | varies |  |  | 0 | 100000 | 1995 | 25 | -2 | 2 | 2 | 2 | 4
Emergency Propane Generator | 45 kW |  | Olympian 95ao4644-s 120/240v 135.3A 3hp |  |  | 100000 | 100000 | 1995 | 20 | -7 | 4 | 4 | 4 | 16
Aerator Motor (2) |  |  | Aqua-lator CS TEFC 5 HP 3ph 60hz 230/460v |  |  | 0 | 4500 | 2015 | 10 | 3 | 2 | 3 | 2 | 6
Ozone Generator |  |  | Air-Zone XT-6000 110V 96w |  |  | 0 | 850 | 2010 | 10 | -2 | 5 | 5 | 1 | 5
Aerated Lagoon Liner (2) | [5 empty] | 200000 | 200000 | 1995 | 25 | -2 | 2 | 2 | 4 | 8
Distribution Structures (3) |  | Concrete |  |  |  | 40000 | 100000 | 1995 | 25 | -2 | 4 | 4 | 2
Free Water Suface Wetland Liner (3) |  | Hypalon |  |  |  | 0 | 200000 | 1995 | 25 | -2 | 2 | 2 | 4 | 8
Influent/Effuent Flow Meters (2) | [5 empty] | 5000 | 5000 | 1995 | 25 | -2 | 4 | 3 | 2 | 6
Security Fencing | [5 empty] | 270000 | 270000 | 1995 | 15 | -12 | 5 | 5 | 2 | 10
Groundwater Monitoring Wells | [5 empty] | 0 | 500 | 1995 | 50 | 23 | 1 | 1 | 1 | 1
Propane Tank | 500 gal. |  |  |  |  | 0 | 0 | 2019 | 20 | 17 | 3 | 2 | 4 | 8
Odor Control System | [5 empty] | 0 | 10000 | 1995 | 20 | -7 | 5 | 5 | 1 | 5
Treatment Assets Subtotal |  |  |  |  | 0 | 725000 | 1116850
Total of All Collection and Treatment Assets |  |  |  |  | 0 |  | 1819345
Total Current SRF Project Cost | [5 empty] | 1009000

## Table 2 Asset Rating
Asset Rating Table 2
Column L |  | Table 2: Asset Criticality
Condition Assessment |  | Asset | Condition Rating | Probability of Failure (Cof) | Consequence of Failure (Cof) | Criticality of Failure1
Condition Rating | Description | Emergency Propane Generator | 4 | 4 | 4 | 16
5 | Unserviceable/End of useful life - Over 50% of asset requires replacement | Air Relief Valve Assembly (23) | 5 | 5 | 3 | 15
4 | Significant Deterioration - 20-40% requires renewal/upgrade | Security Fencing | 5 | 5 | 2 | 10
3 | Moderate Deterioration - 10-20% requires significant maintenance | Submersible Effluent Pump (272) | 3 | 3 | 3 | 9
2 | Minor Deterioration - Requires minor maintenance | Pipe laterals and mains | 2 | 3 | 3 | 9
1 | New or Excellent Condition - Only normal maintenance required | Septic Tank (272) | 3 | 2 | 4 | 8
|  | Vacuum Pumper Truck | 4 | 4 | 2 | 8
|  | Wet Well | 4 | 2 | 4 | 8
Column M |  | Aerated Lagoon Liner (2) | 2 | 2 | 4 | 8
Probability of Failure |  | Distribution Structures (3) | 4 | 4 | 2 | 8
Performance Rating | Description | Free Water Suface Wetland Liner (3) | 2 | 2 | 4 | 8
5 | Imminent - Likely to occur in the near future | Propane Tank | 3 | 2 | 4 | 8
4 | Probable - Likely to occur several times in the life of an item | Septic Tank Control Panels (272) | 2 | 3 | 2 | 6
3 | Occasional - Likely to occur sometime in the life of an item | Gate Valves (51) | 3 | 2 | 3 | 6
2 | Remote - Unlikely but possible to occur in the life of an item | Ball Valves (372) | 3 | 2 | 3 | 6
1 | Improbable - So unlikely, it can be assumed occurrence may not be experienced | Check Valves (286) | 3 | 2 | 3 | 6
|  | Aerator Motor (2) | 2 | 3 | 2 | 6
|  | Influent/Effuent Flow Meters (2) | 4 | 3 | 2 | 6
Column N |  | Channel Grinder | 5 | 5 | 1 | 5
Consequence of Failure |  | Ozone Generator | 5 | 5 | 1 | 5
Performance Rating | Description | Odor Control System | 5 | 5 | 1 | 5
5 | Catastrophic disruption | Septic Tank Risers (272) | 4 | 2 | 2 | 4
4 | Major disruption | Grit Removal Manhole | 2 | 2 | 2 | 4
3 | Moderate disruption | Channel Grinder Manhole | 2 | 2 | 2 | 4
2 | Minor disruption | Influent Metering Manhole | 2 | 2 | 2 | 4
1 | Insignificant disruption | Pump Station Vault Piping, Valves, Fittings, and Appurtenances | 2 | 2 | 2 | 4
|  | Groundwater Monitoring Wells | 1 | 1 | 1 | 1
0
0
0
0
0
0
0
0
0
0
0
0
0
1. Table is sorted by Criticality, in descending order, whereby items of highest Criticality are listed first.

## Table 3 Replacement Expenses
Replacement and/or Rehabilitation Expenses | Table 3
Directions: |  | Guidance Note:
A. List assets to be replaced or rehabilitated |  | Include items here that will need to be replaced during the normal course of operating the system. Include only the items from the Asset Inventory (Table 1) with a remaining useful life less than 20 years.
B. Determine how long before action must take place
C. Enter cost to replace or rehabilitate
D. Enter "C" in column D for large replacement expenses that would be funded as a capital project separate from the reserve money set aside each year.
E. To add more replacement expenses, use insert function and add rows then copy first line item row to new rows to transfer formulas
F. Enter information in yellow cells
G. Remaining cells will calculate automatically.
A | B | C | D | E | F
Projects | Remaining Useful Life in Years | Replacement Cost | R = Use Reserve C = Capital Expense | Reserve Required Each Year | Future Capital Funds Required
Collection Assets
Septic Tank Control Panels (272) | 16 | 500 | R | 31.25 | 0
Septic Tank Risers (272) | 6 | 150 | C | 0 | 150
Septic Tank (272) | 6 | 1500 | R | 250 | 0
Submersible Effluent Pump (272) | -19 | 950 | R | 0 | 0
Gate Valves (51) | -19 | 25 | C | 0 | 0
Ball Valves (372) | -19 | 25 | C | 0 | 0
Check Valves (286) | -39 | 25 | C | 0 | 0
Air Relief Valve Assembly (23) | -34 | 400 | R | 0 | 0
Pipe laterals and mains | 31 | 598920 | C | 0 | 598920
Vacuum Pumper Truck | -34 | 100000 | C | 0 | 0
Treatment Assets
Grit Removal Manhole | -2 | 5000 | C | 0 | 0
Channel Grinder Manhole | -2 | 5000 | C | 0 | 0
Channel Grinder | -17 | 1000 | C | 0 | 0
Influent Metering Manhole | -2 | 5000 | C | 0 | 0
Wet Well | -2 | 110000 | C | 0 | 0
Pump Station Vault Piping, Valves, Fittings, and Appurtenances | -2 | 100000
Emergency Propane Generator | -7 | 100000 | C | 0 | 0
Aerator Motor (2) | 3 | 4500 | R | 1500 | 0
Ozone Generator | -2 | 850 | C | 0 | 0
Aerated Lagoon Liner (2) | -2 | 200000 | C | 0 | 0
Distribution Structures (3) | -2 | 100000 | C | 0 | 0
Free Water Suface Wetland Liner (3) | -2 | 200000 | C | 0 | 0
Influent/Effuent Flow Meters (2) | -2 | 5000 | C | 0 | 0
Security Fencing | -12 | 270000 | C | 0 | 0
Groundwater Monitoring Wells | 23 | 500 | C | 0 | 500
Propane Tank | 17 | 0 | C | 0 | 0
Odor Control System | -7 | 10000 | C | 0 | 0
Total Replacement Expenses Required in the Current Year |  |  |  | 1781.25
Total Future Capital Funds Required |  |  |  |  | 599570

## Table 4 Future Improv. Expenses
Future Improvement Expenses | Table 4
Directions: |  | Guidance Note:
A. List projects to be completed |  | Include improvements here which are related to: 1. Future/upcoming regulations
B. Determine how long before the project must begin
C. Enter the total projected cost of the project |  | 2. Major asset replacement, such as structures, tanks, or interceptors 3. System expansion to provide additional capacity or service area 4. System consolidation or regionalization
D. Enter "C" in column D for large replacement expenses that would be funded as a capital project separate from the reserve money set aside each year.
E. To add more improvement expenses, use insert function and add rows then copy first row to new rows to transfer formulas |  | 5. Improved technology to replace obsolete technology 6. Climate resiliency Include only projects expected to occur within the next 20 years.
F. Enter information in yellow cells.
G. Remaining cells will calculate automatically.
A | B | C | D | E | F
Projects | Years Until Project Must Begin | Cost | R = Use Reserve C = Capital Expense | Reserve Required Each Year | Future Capital Funds Required
General
Mobilization/Demobilization (5% of Construction) | 5 | 110000 | C | 0 | 110000
Temporary Bypass Pumping | 5 | 25000 | C | 0 | 25000
Construction Staking & Materials Testing | 5 | 25000 | C | 0 | 25000
Erosion Control and Site Restoration | 5 | 25000 | C | 0 | 25000
Demolition
Clearing, Grubbing, and Disposal | 5 | 10000 | C | 0 | 10000
Pump Station Building Selective Demolition and Restoration | 5 | 10000 | C | 0 | 10000
Miscellaneous Selective Site Demolition | 5 | 10000 | C | 0 | 10000
Fencing Demolition | 5 | 15000 | C | 0 | 15000
Electrical Demolition | 5 | 5000 | C | 0 | 5000
Civil
Pump Station Surface Repairs and Selective Interior Painting | 5 | 30000 | C | 0 | 30000
Precast Concrete Pump Station Valve Vault with Access Hatch (6' x 6.5' x 5' deep) | 5 | 20000 | C | 0 | 20000
Odor Control Vent, 4" PVC Piping and Apprtenances (Incl. Concrete) | 5 | 20000 | C | 0 | 20000
4" PVC Piping and Apprtenances (RE and SSFM) | 5 | 3660 | C | 0 | 3660
4" DI Piping and Apprtenances (RE and SSFM) | 5 | 5652 | C | 0 | 5652
4" Flow Meter (RE) | 5 | 5000 | C | 0 | 5000
Pump Station Vault DI Piping, Valves, Fittings, and Appurtenances | 5 | 25000 | C | 0 | 25000
Aeration Lagoon Air Gap Piping Assembly | 5 | 10000 | C | 0 | 10000
Aeration Lagoon Liner Surface Preparation and Replacement | 5 | 200000 | C | 0 | 200000
Aeration Lagoon Floating Dock | 5 | 60000 | C | 0 | 60000
Distribution Structure Cleaning and Shear Gate Handle Replacement | 5 | 5000 | C | 0 | 5000
Site Gravel | 5 | 2405 | C | 0 | 2405
Minor Concrete (6" Reinforced) | 5 | 5025 | C | 0 | 5025
Office Yard Septage Receiving System Concrete Pad (8" Reinforced) | 5 | 8500 | C | 0 | 8500
6' Tall Chain Link Fence | 5 | 240000 | C | 0 | 240000
6' Tall Gate 4' Wide | 5 | 1600 | C | 0 | 1600
6' Tall Gate 10' Wide | 5 | 2000 | C | 0 | 2000
6' Tall Gate 20' Wide | 5 | 8000 | C | 0 | 8000
6' Tall Chain Link Fence w/Slats | 5 | 3825 | C | 0 | 3825
6' Tall Gate 4' Wide w/Slats | 5 | 880 | C | 0 | 880
6' Tall Gate 15' Wide w/Slats | 5 | 3300 | C | 0 | 3300
Gabion Retaining Wall | 5 | 10000 | C | 0 | 10000
Pump Station Wetwell Retrofit (Incl. Acess Hatch System) | 5 | 65000 | C | 0 | 65000
Pump Station Submersible Pumps and Float Switches | 5 | 50000 | C | 0 | 50000
Pump Station Davit Crane | 5 | 7000 | C | 0 | 7000
Passive Septage Screening System | 5 | 30000 | C | 0 | 30000
Septage Holding Tank System | 5 | 25000 | C | 0 | 25000
Septage Holding Tank System Pump, Piping, Valves, and Appurtenances | 5 | 5000 | C | 0 | 5000
Hydraulic Distribution Structure Replacement Gates | 5 | 40000 | C | 0 | 40000
Air Release Valves | 5 | 69000 | C | 0 | 69000
Septic Tank Pumping and Disposal | 5 | 150000 | C | 0 | 150000
Septic Tank Replacement Pumps | 5 | 125000 | C | 0 | 125000
Septic Tank Riser and Seal Replacements | 5 | 90000 | C | 0 | 90000
Bypass Pump, 50' of 3" Flex Hose, and Fittings | 5 | 5000 | C | 0 | 5000
Mechanical
Mechanical Demolition | 5 | 1200 | C | 0 | 1200
Gravity Hood (Roof Mounted) | 5 | 5000 | C | 0 | 5000
Exhaust Fan (Roof Mounted) | 5 | 7500 | C | 0 | 7500
Metal Ductwork | 5 | 1125 | C | 0 | 1125
3" Exahust Pipe w/Insulation | 6 | 1400 | C | 0 | 1400
Muffler Insulation | 7 | 500 | C | 0 | 500
LPG Piping w/Flex | 5 | 250 | C | 0 | 250
Electrical
45KW Generator System Replacement | 5 | 100000 | C | 0 | 100000
Septic Tank System SCADA Network System | 5 | 300000 | C | 0 | 300000
Pump Station Electrical and Control Upgrades | 5 | 100000 | C | 0 | 100000
District Office SCADA Network System | 5 | 50000 | C | 0 | 50000
11"x17" Pullbox | 5 | 1200 | C | 0 | 1200
Pump Station Exterior LED Wall Pack Light Fixture | 5 | 1200 | C | 0 | 1200
District Maintenance Bldg Exterior LED Wall Pack Light Fixture | 5 | 1200 | C | 0 | 1200
Septic Tank System Control Panels | 5 | 600000 | C | 0 | 600000
Miscellaneous Electrical | 5 | 60000 | C | 0 | 60000
Total Improvement Expense Required in the Current Year |  |  |  | 0
Total Future Capital Funds Required |  |  |  |  | 2796422

## Total Reserve Required
Total Reserve Required for Facility Improvement Project
Directions:
A. Total Reserve Required will calculate automatically from the total replacement and total improvement expenses in Tables 3 and 4 respectively.
B. If reserve provided does not cover the total reserve required, additional funding for replacement and future improvement is needed
Total Reserve Required Each Year | 1781.25
Total Future Capital Funds Required | 3395992